NTAS 12 SBE 16 Preliminary Processing

201402011Nan Galbraith

Preliminary processing was done at sea by  Seb Biggorre, these notes and some follow-up processing  by N. G.

- Buoy Information

latitude  = 14 deg 44.953 min North

longitude = 50 deg 56.976 min West

Anchor over: 2012,12,3,21,24,0

Anchor release: 2013,10,29,9,53,0

water_depth=5035 m

deck_height  = 80 cm

watch_circle = 4.0 nm

wmo_platform_code = '48401';

- SBE16s deployed

  - From Deployment xls

|  | Depth | Rate | Start Rec |  | Spike | Spike Start | Spike Stop |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Serial | Meters | minutes | Date | Start Time | Date | Time | Time |
| 1877 | 4998* | 30 | 11/14/12 | 01:00 | 30-Nov-12 | 14:55:00 | 16:34:57 |
| 1878 | 4998* | 30 | 11/14/12 | 01:00 | 30-Nov-12 | 14:55:00 | 16:34:57 |

* originally recorded as  4940, (Corrected depth 5035)-37m off bottom = 4998

  - From recovery xls

| SN | True Time | UTC Date | Internal Time | Internal Date | Stop Sampling | Records | Spike Date | Spike Start | Spike End |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1877 | 11:05:00 | 26-Oct-2013 | 10:57:19 | 26-Oct-2013 | 11:04 | 16629 | 25-Oct-2013 | 12:52:00 | 14:02:00 |
| 1878 | 11:26:00 | 26-Oct-2013 | 11:22:05 | 26-Oct-2013 | 11:25 | 1243 | 25-Oct-2013 | 12:52:00 | 14:02:00 |

Note that 1877 had poison plugs, 1878 did not; a comparison won’t be very useful since 1878 failed before it could foul.

- Preliminary processing

Because 1878 failed, details are given for 1877.

Data uploaded from instruments into hex files; processed on a PC on Jan 06 2014  with SBE16_1877.xmlcon (which provides more info than the ‘con’ files) and UOPDatCnv.psa on Jan 06 2014; pressure value (used in salinity calculation)  set  to 5087.0365 (which, I think, is correct for 4998m).

Data converted to Matlab with (local copy of) getsbe16.m, version 2012/12/12.

- Timing marks

  - Pre-deployment spikes

| SN | Spike Date | Start Time | Stop Time |
| --- | --- | --- | --- |
| 1877 | 30-Nov-12 | 14:55:00 | 16:34:57 |
| 1878 | 30-Nov-12 | 14:55:00 | 16:34:57 |

  - Post-recovery spikes

| SN | Spike Date | Spike Start | Spike End |
| --- | --- | --- | --- |
| 1877 | 25-Oct-2013 | 12:52:00 | 14:02:00 |
| 1878 | 25-Oct-2013 | 12:52:00 | 14:02:00 |

Post-spike on 1877 only, appears fine; time word is generated in software for SBE 16s.

- Data Return

  - Inventory

| SN | first | last | #points | #expt | rate mins | return % |
| --- | --- | --- | --- | --- | --- | --- |
| 1877 | 03-Dec-2012 23:30 | 25-Oct-2013 09:30 | 15621 | 15621 | 30 | 100 |
| 1878 | 03-Dec-2012 23:30 | 09-Dec-2012 22:00 | 286 | 15621 | 30 | 1.83 |

  - Inventory plot

- Calibrations

Calibration information for 1877, since 1878 was so short.

  - Pre-cal:

<sensor Channel="1" >

#     <TemperatureSensor SensorID="55" >

#       <CalibrationDate>28-Feb-09</CalibrationDate>

#       <UseG_J>1</UseG_J>  (<A>,<B>, <C> <D>,<F0_Old> all 0.0)

#       <G>4.16205521e-003</G>

#       <H>6.01661873e-004</H>

#       <I>5.30278306e-006</I>

#       <J>-1.69563254e-006</J>

#       <F0>1000.000</F0>

#       <Slope>1.00000000</Slope> <Offset>0.0000</Offset>

#     <ConductivitySensor SensorID="3" >

#       <CalibrationDate>28-Feb-09 </CalibrationDate>

#       <UseG_J>1</UseG_J>

#       <!-- Cell const and series R are applicable only for wide range sensors. -->

#       <SeriesR>0.0000</SeriesR>

#       <CellConst>2000.0000</CellConst>

#       <ConductivityType>0</ConductivityType>

#       <Coefficients equation="0" >

#         <A> <B> <C><D><M> all 0.0

#         <CPcor>-9.57000000e-008</CPcor>

#       </Coefficients>

#       <Coefficients equation="1" >

#         <G>-3.99335464e+000</G>

#         <H>4.76253826e-001</H>

#         <I>1.28168513e-003</I>

#         <J>-3.56599563e-005</J>

#         <CPcor>-9.57000000e-008</CPcor>

#         <CTcor>3.2500e-006</CTcor>

  - Post-cals:

20140619 reran with post-cals; updated software to read xmlcon to get applied pressure that was used in the sbe_sal calculation.

SN 1877

<sensor Channel="1" >

#     <TemperatureSensor SensorID="55" >

#       <SerialNumber>1877</SerialNumber>

#       <CalibrationDate>04-Feb-14</CalibrationDate>

#       <UseG_J>1</UseG_J>  (<A>,<B>, <C> <D>,<F0_Old> all 0.0)

#       <G>4.16194039e-003</G>

#       <H>6.01358716e-004</H>

#       <I>5.05758797e-006</I>

#       <J>-1.75288003e-006</J>

#       <F0>1000.000</F0>

#       <Slope>1.00000000</Slope>      <Offset>0.0000</Offset>

#     </TemperatureSensor>

#   </sensor>

#   <sensor Channel="2" >

#     <!-- Frequency 1, Conductivity -->

#     <ConductivitySensor SensorID="3" >

#       <SerialNumber>1877</SerialNumber>

#       <CalibrationDate>04-Feb-14</CalibrationDate>

#       <UseG_J>1</UseG_J>

#       <!-- Cell const and series R are applicable only for wide range sensors. -->

#       <SeriesR>0.0000</SeriesR>

#       <CellConst>2000.0000</CellConst>

#         <CPcor>-9.57000000e-008</CPcor>

#       </Coefficients>

#       <Coefficients equation="1" >

#         <G>-4.00143663e+000</G>

#         <H>4.78102614e-001</H>

#         <I>9.18882225e-004</I>

#         <J>-1.66957943e-005</J>

#         <CPcor>-9.57000000e-008</CPcor>

#         <CTcor>3.2500e-006</CTcor>

From postcal/SBE16_1877.xmlcon (also in pre-cal xmlcon files) :

MooredPressure   5087.03650

Overplots of pre and post  calibrations for Salinity showed that the 2 units agree more closely using pre-cals; the plot was done on the time period where both were operating:

Temperature plot of the same time period shows that either temperature cal is good:

Adding NTAS 11 deep SBE 16s, which stayed on station when that buoy went adrift, confirms that the pre-cals are better.

Precal:

Postcal:

- Create combined data file

On Cougar, using matlab script make_deepts_ntas12, the pre-cal matfiles were combined into ntas12_deepTS.mat. The time limits were

03-Dec-2012 22:30:00 to  25-Oct-2013 09:30:00, with 15623 records. The truncation included a max limit on temp, for 1877, 1.937, and for 1878, 1.915; this was because there were high values as the instruments were launched and also when 1878 failed. This file was copied to buoy2 in ntas_for_distribution in case there are questions about the data when it’s published on oceansites.

- OceanSITES output

Matlab script do_deepTS_to_OTS_ntas12 read in ntas12_deepTS.mat  and created

ntas/OS_NTAS_2012_D_deepTS.nc, which was copied to our web server and sent to NDBC’s OceanSITES server via ftp.